## Maintenance schedule
Asset | Location | Manufacturer / model | Serial number | Maintenance task | Interval (months) | Last maintenance | Next maintenance | Status | Responsible | Legally required | Notes
Gas condensing boiler | Building A, mechanical room, basement |  |  | Service and flue gas measurement | 12 | 2026-03-15 |  |  | Heating contractor | yes
Ventilation unit | Building A, roof |  |  | Filter replacement, visual inspection | 6 | 2026-07-01 |  |  | Building engineering | no
Fire extinguishers (12) | Building A, all floors |  |  | Inspection by a qualified person | 24 | 2025-02-10 |  |  | Qualified person | yes
Fire doors | Building A, stairwell |  |  | Function test | 12 | 2025-11-20 |  |  | Building engineering | yes
Smoke detectors | Building A, apartments |  |  | Function test | 12 | 2025-09-30 |  |  | Maintenance technician | yes
Roll-up door, underground garage | Underground garage |  |  | Service and safety inspection | 12 | 2026-01-12 |  |  | Door contractor | yes
Sewage lift station | Basement |  |  | Service | 6 | 2026-04-02 |  |  | Plumbing contractor | no
Yellow columns are calculated. Enter the interval in months and dates as MM/DD/YYYY. Template from maintably.com
Formulas:
Next maintenance = IF(OR([Last maintenance]="",[Interval (months)]=""),"",EDATE([Last maintenance],[Interval (months)]))
Status = IF([Next maintenance]="","",IF([Next maintenance]<TODAY(),"overdue",IF([Next maintenance]<=TODAY()+30,"due in 30 days","ok")))